## Cable Request
CGv1 | SR* - {Project} - {APP} - {DC} |  |  |  |  | * Indicates Minimum Information Required (Device A, Connectivity, Switch)
[5 empty] | Device A / From | [6 empty] | Device B / To | [5 empty] | Patch Panel Connections | [7 empty] | TAPs Connections | [5 empty] | Monitor Device |  |  |  |  | To be complete for SAN connectivity | [8 empty] | Connectivity | [6 empty] | Switch |  |  |  | Port | Location |  | Notes |  | Test Line |  |  | IP Information
CADDS Record Id | SR Number | Blank0 | Host Device Type | Host Asset * | Host Name * | Host Rack | Host Port * | Host Cable Printout ** AutoFill - DO NOT TOUCH ** | Blank1 | Network Device Type | Network Asset | Switch Name | Switch Rack | Switch Port | Switch Cable Printout ** AutoFill - DO NOT TOUCH ** | Blank2 | Patch Panel 1 | Patch Panel 2 | Patch Panel 1 & 2 Label Printout ** AutoFill - DO NOT TOUCH ** | Patch Panel 3 | Patch Panel 4 | Patch Panel 3 & 4 Label Printout ** AutoFill - DO NOT TOUCH ** | Patch Panel 5 | Blank3 | Tap Rack Tap Port -Device A | Tap Rack Tap Port -Device B | TAP In/Out | Monitor | TAP Cable Printout ** AutoFill - DO NOT TOUCH ** | Blank4 | Monitor Asset | Monitor Host | Monitor Rack | Monitor Port | Monitor Cable Printout Printout ** AutoFill - DO NOT TOUCH ** | Blank5 | SAN Fabic Switch Asset | SAN Switch Rack | SAN Port | World Wide Name | SAN Cable Printout Printout ** AutoFill - DO NOT TOUCH ** | Blank6 | Cable Type * | Connector * | SFP * | Color | Node Type | MAC Address | LACP MAC Address | Blank7 | Tier * | VLAN * | Speed * | Access / Trunk * | LACP * | Blank8 | Location | Orientation | Blank9 | Notes | Blank10 | Test Line | Blank11 | IP Address | Subnet Mask | Gateway IP Address | Blank12
530 | 2162922 |  | Server | 01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29 | iPMI | 01043206:GXDLQP2 5R.06.29.iPMI | [34 empty] | Copper | RJ45 | N/A | Blue |  |  |  |  | MCA | 247 | 1G | Access | No | [8 empty] | 10.36.24.36 | 255.255.254.0 | 10.36.24.1
530 | 2162922 |  | Server | 01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29 | PCIe3.P1 | 01043206:GXDLQP2 5R.06.29.PCIe3.P1 | [34 empty] | MM | LC-LC | 10G-SR | Aqua |  |  |  |  | CAT | 330 | 10G | Access | Yes
530 | 2162922 |  | Server | 01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29 | PCIe5.P1 | 01043206:GXDLQP2 5R.06.29.PCIe5.P1 | [34 empty] | MM | LC-LC | 10G-SR | Aqua |  |  |  |  | CAT | 330 | 10G | Access | Yes
530 | 2162922 |  | Server | 01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29 | PCIe2.P1 | 01043206:GXDLQP2 5R.06.29.PCIe2.P1 | [34 empty] | MM | LC-LC | 32G-SR | Aqua |  |  |  |  | SAN |  | 16G | Access | No
530 | 2162922 |  | Server | 01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29 | PCIe7.P1 | 01043206:GXDLQP2 5R.06.29.PCIe7.P1 | [34 empty] | MM | LC-LC | 32G-SR | Aqua |  |  |  |  | SAN |  | 16G | Access | No
530 | 2162922 |  | Server | 01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29 | OB1 | 01043206:GXDLQP2 5R.06.29.OB1 | [34 empty] | MM | LC-LC | 10G-SR | Aqua |  |  |  |  | CAT-BN | 1330 | 10G | Access | No
530 | 1816004 |  | Server | 01043208:GXDNQP2 | NCEPWSPSERD0001 | 2B.07.21 | iPMI | 01043208:GXDNQP2 2B.07.21.iPMI |  | Switch | 162249 | ncencdc-h2b07-fx01 | 2B.07.-46 | Eth107/1/5 | 162249 2B.07.-46.Eth107/1/5 |  | Direct Connect | [25 empty] | Copper | RJ45 | N/A | Blue |  |  |  |  | MCA | 2249 | 1G | Access | No | [6 empty] | 1 |  | 10.28.24.36 | 255.255.254.0 | 10.28.24.1
530 | 1816004 |  | Server | 01043208:GXDNQP2 | NCEPWSPSERD0001 | 2B.07.21 | PCIe3.P1 | 01043208:GXDNQP2 2B.07.21.PCIe3.P1 |  | Switch | 145058 | ncencdc-h2b-fl01 | 2B.01.32 | Eth1/3 | 145058 2B.01.32.Eth1/3 |  | 2B.07.-49.S2.A5 | 2B.01.45.S9.A5 | 2B.07.-49.S2.A5 2B.01.45.S9.A5 | [23 empty] | MM | LC-LC | 10G-SR | Aqua |  |  |  |  | CAT | 330 | 10G | Access | Yes | [6 empty] | 2
530 | 1816004 |  | Server | 01043208:GXDNQP2 | NCEPWSPSERD0001 | 2B.07.21 | PCIe5.P1 | 01043208:GXDNQP2 2B.07.21.PCIe5.P1 |  | Switch | 256910 | ncencdc-h2b-fl02 | 2B.16.32 | Eth1/3 | 256910 2B.16.32.Eth1/3 |  | 2B.07.-49.S1.A3 | 2B.16.45.S9.A3 | 2B.07.-49.S1.A3 2B.16.45.S9.A3 | [23 empty] | MM | LC-LC | 10G-SR | Aqua |  |  |  |  | CAT | 330 | 10G | Access | Yes | [6 empty] | 3
530 | 1816004 |  | Server | 01043208:GXDNQP2 | NCEPWSPSERD0001 | 2B.07.21 | PCIe2.P1 | 01043208:GXDNQP2 2B.07.21.PCIe2.P1 |  | Switch | 178484 | nce-2b01-pedg-123 | 2B.01.27 | Port 23 | 178484 2B.01.27.Port 23 |  | 2B.07.-49.S2.A6 | 2B.01.45.S9.A6 | 2B.07.-49.S2.A6 2B.01.45.S9.A6 | [23 empty] | MM | LC-LC | 32G-SR | Aqua |  |  |  |  | SAN |  | 16G | Access | No | [6 empty] | 4
530 | 1816004 |  | Server | 01043208:GXDNQP2 | NCEPWSPSERD0001 | 2B.07.21 | PCIe7.P1 | 01043208:GXDNQP2 2B.07.21.PCIe7.P1 |  | Switch | 178486 | nce-2b16-pedg-124 | 2B.16.30 | Port 23 | 178486 2B.16.30.Port 23 |  | 2B.07.-49.S1.A4 | 2B.16.45.S9.A4 | 2B.07.-49.S1.A4 2B.16.45.S9.A4 | [23 empty] | MM | LC-LC | 32G-SR | Aqua |  |  |  |  | SAN |  | 16G | Access | No | [6 empty] | 5
530 | 1816004 |  | Server | 01043208:GXDNQP2 | NCEPWSPSERD0001 | 2B.07.21 | OB1 | 01043208:GXDNQP2 2B.07.21.OB1 |  | Switch | 153461 | ncencbn-h2b01-fx03 | 2B.01.19 | Eth117/1/7 | 153461 2B.01.19.Eth117/1/7 |  | 2B.07.-49.S2.B1 | 2B.01.45.S9.B1 | 2B.07.-49.S2.B1 2B.01.45.S9.B1 | [23 empty] | MM | LC-LC | 10G-SR | Aqua |  |  |  |  | CAT-BN | 1330 | 10G | Access | No | [6 empty] | 6
530 | 1816004 |  | Server | 01043209:GXDPQP2 | NCEPWSPSERD0002 | 2B.07.23 | iPMI | 01043209:GXDPQP2 2B.07.23.iPMI |  | Switch | 162246 | ncencdc-h2b07-fx02 | 2B.07.-44 | Eth127/1/5 | 162246 2B.07.-44.Eth127/1/5 |  | Direct Connect | [25 empty] | Copper | RJ45 | N/A | Blue |  |  |  |  | MCA | 2249 | 1G | Access | No | [6 empty] | 7 |  | 10.28.24.37 | 255.255.254.0 | 10.28.24.1
530 | 1816004 |  | Server | 01043209:GXDPQP2 | NCEPWSPSERD0002 | 2B.07.23 | PCIe3.P1 | 01043209:GXDPQP2 2B.07.23.PCIe3.P1 |  | Switch | 145058 | ncencdc-h2b-fl01 | 2B.01.32 | Eth1/4 | 145058 2B.01.32.Eth1/4 |  | 2B.07.-49.S2.B2 | 2B.01.45.S9.B2 | 2B.07.-49.S2.B2 2B.01.45.S9.B2 | [23 empty] | MM | LC-LC | 10G-SR | Aqua |  |  |  |  | CAT | 330 | 10G | Access | Yes | [6 empty] | 8
530 | 1816004 |  | Server | 01043209:GXDPQP2 | NCEPWSPSERD0002 | 2B.07.23 | PCIe5.P1 | 01043209:GXDPQP2 2B.07.23.PCIe5.P1 |  | Switch | 256910 | ncencdc-h2b-fl02 | 2B.16.32 | Eth1/4 | 256910 2B.16.32.Eth1/4 |  | 2B.07.-49.S1.A5 | 2B.16.45.S9.A5 | 2B.07.-49.S1.A5 2B.16.45.S9.A5 | [23 empty] | MM | LC-LC | 10G-SR | Aqua |  |  |  |  | CAT | 330 | 10G | Access | Yes | [6 empty] | 9
530 | 1816004 |  | Server | 01043209:GXDPQP2 | NCEPWSPSERD0002 | 2B.07.23 | PCIe2.P1 | 01043209:GXDPQP2 2B.07.23.PCIe2.P1 |  | Switch | 178484 | nce-2b01-pedg-123 | 2B.01.27 | Port 24 | 178484 2B.01.27.Port 24 |  | 2B.07.-49.S2.B3 | 2B.01.45.S9.B3 | 2B.07.-49.S2.B3 2B.01.45.S9.B3 | [23 empty] | MM | LC-LC | 32G-SR | Aqua |  |  |  |  | SAN | 12 | 16G | Access | No | [6 empty] | 10
530 | 1816004 |  | Server | 01043209:GXDPQP2 | NCEPWSPSERD0002 | 2B.07.23 | PCIe7.P1 | 01043209:GXDPQP2 2B.07.23.PCIe7.P1 |  | Switch | 178486 | nce-2b16-pedg-124 | 2B.16.30 | Port 24 | 178486 2B.16.30.Port 24 |  | 2B.07.-49.S1.A6 | 2B.16.45.S9.A6 | 2B.07.-49.S1.A6 2B.16.45.S9.A6 | [23 empty] | MM | LC-LC | 32G-SR | Aqua |  |  |  |  | SAN | 42 | 16G | Access | No | [6 empty] | 11
530 | 1816004 |  | Server | 01043209:GXDPQP2 | NCEPWSPSERD0002 | 2B.07.23 | OB1 | 01043209:GXDPQP2 2B.07.23.OB1 |  | Switch | 153461 | ncencbn-h2b01-fx03 | 2B.01.19 | Eth117/1/8 | 153461 2B.01.19.Eth117/1/8 |  | 2B.07.-49.S2.B4 | 2B.01.45.S9.B4 | 2B.07.-49.S2.B4 2B.01.45.S9.B4 | [23 empty] | MM | LC-LC | 10G-SR | Aqua |  |  |  |  | CAT-BN | 1330 | 10G | Access | No | [6 empty] | 12

## 6 - 54
6 | 7 | 8 | 9 | 10 | 11 | 12
01043206:GXDLQP2 5R.06.29.iPMI | 01043206:GXDLQP2 5R.06.29.PCIe3.P1 | 01043206:GXDLQP2 5R.06.29.PCIe5.P1 | 01043206:GXDLQP2 5R.06.29.PCIe2.P1 | 01043206:GXDLQP2 5R.06.29.PCIe7.P1 | 01043206:GXDLQP2 5R.06.29.OB1 | 01043208:GXDNQP2 2B.07.21.iPMI | I
[6 empty] | 162249 2B.07.-46.Eth107/1/5 | P
T
W
13 | 14 | 15 | 16 | 17 | 18 | 19
01043208:GXDNQP2 2B.07.21.PCIe3.P1 | 01043208:GXDNQP2 2B.07.21.PCIe5.P1 | 01043208:GXDNQP2 2B.07.21.PCIe2.P1 | 01043208:GXDNQP2 2B.07.21.PCIe7.P1 | 01043208:GXDNQP2 2B.07.21.OB1 | 01043209:GXDPQP2 2B.07.23.iPMI | 01043209:GXDPQP2 2B.07.23.PCIe3.P1
145058 2B.01.32.Eth1/3 | 256910 2B.16.32.Eth1/3 | 178484 2B.01.27.Port 23 | 178486 2B.16.30.Port 23 | 153461 2B.01.19.Eth117/1/7 | 162246 2B.07.-44.Eth127/1/5 | 145058 2B.01.32.Eth1/4
2B.07.-49.S2.A5 2B.01.45.S9.A5 | 2B.07.-49.S1.A3 2B.16.45.S9.A3 | 2B.07.-49.S2.A6 2B.01.45.S9.A6 | 2B.07.-49.S1.A4 2B.16.45.S9.A4 | 2B.07.-49.S2.B1 2B.01.45.S9.B1 |  | 2B.07.-49.S2.B2 2B.01.45.S9.B2
20 | 21 | 22 | 23 | 24 | 25 | 26
01043209:GXDPQP2 2B.07.23.PCIe5.P1 | 01043209:GXDPQP2 2B.07.23.PCIe2.P1 | 01043209:GXDPQP2 2B.07.23.PCIe7.P1 | 01043209:GXDPQP2 2B.07.23.OB1
256910 2B.16.32.Eth1/4 | 178484 2B.01.27.Port 24 | 178486 2B.16.30.Port 24 | 153461 2B.01.19.Eth117/1/8
2B.07.-49.S1.A5 2B.16.45.S9.A5 | 2B.07.-49.S2.B3 2B.01.45.S9.B3 | 2B.07.-49.S1.A6 2B.16.45.S9.A6 | 2B.07.-49.S2.B4 2B.01.45.S9.B4
27 | 28 | 29 | 30 | 31 | 32 | 33
34 | 35 | 36 | 37 | 38 | 39 | 40
41 | 42 | 43 | 44 | 45 | 46 | 47
48 | 49 | 50 | 51 | 52 | 53 | 54

## 55 - 103
55 | 56 | 57 | 58 | 59 | 60 | 61
I
P
T
W
62 | 63 | 64 | 65 | 66 | 67 | 68
69 | 70 | 71 | 72 | 73 | 74 | 75
76 | 77 | 78 | 79 | 80 | 81 | 82
83 | 84 | 85 | 86 | 87 | 88 | 89
90 | 91 | 92 | 93 | 94 | 95 | 96
97 | 98 | 99 | 100 | 101 | 102 | 103

## 104 - 152
104 | 105 | 106 | 107 | 108 | 109 | 110
I
P
T
W
111 | 112 | 113 | 114 | 115 | 116 | 117
118 | 119 | 120 | 121 | 122 | 123 | 124
125 | 126 | 127 | 128 | 129 | 130 | 131
132 | 133 | 134 | 135 | 136 | 137 | 138
139 | 140 | 141 | 142 | 143 | 144 | 145
146 | 147 | 148 | 149 | 150 | 151 | 152

## 153 - 199
153 | 154 | 155 | 156 | 157 | 158 | 159
I
P
T
W
160 | 161 | 162 | 163 | 164 | 165 | 166
167 | 168 | 169 | 170 | 171 | 172 | 173
174 | 175 | 176 | 177 | 178 | 179 | 180
181 | 182 | 183 | 184 | 185 | 186 | 187
188 | 189 | 190 | 191 | 192 | 193 | 194
195 | 196 | 197 | 198 | 199

## IPMI
Asset | Hostname | Host Rack | IP | Subnet Mask | Gateway
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29 | 10.36.24.36 | 255.255.254.0 | 10.36.24.1
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29 | 10.28.24.36 | 255.255.254.0 | 10.28.24.1
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29 | 10.28.24.37 | 255.255.254.0 | 10.28.24.1
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29
01043206:GXDLQP2 | NCWRWSPSERD0001 | 5R.06.29

## TAP 6 - 53
6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
01043206:GXDLQP2 5R.06.29.iPMI | 01043206:GXDLQP2 5R.06.29.PCIe3.P1 | 01043206:GXDLQP2 5R.06.29.PCIe5.P1 | 01043206:GXDLQP2 5R.06.29.PCIe2.P1 | 01043206:GXDLQP2 5R.06.29.PCIe7.P1 | 01043206:GXDLQP2 5R.06.29.OB1 | 01043208:GXDNQP2 2B.07.21.iPMI | 01043208:GXDNQP2 2B.07.21.PCIe3.P1 | I
[6 empty] | 162249 2B.07.-46.Eth107/1/5 | 145058 2B.01.32.Eth1/3 | P
[7 empty] | 2B.07.-49.S2.A5 2B.01.45.S9.A5 | T
W
AD
AJ
14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
01043208:GXDNQP2 2B.07.21.PCIe5.P1 | 01043208:GXDNQP2 2B.07.21.PCIe2.P1 | 01043208:GXDNQP2 2B.07.21.PCIe7.P1 | 01043208:GXDNQP2 2B.07.21.OB1 | 01043209:GXDPQP2 2B.07.23.iPMI | 01043209:GXDPQP2 2B.07.23.PCIe3.P1 | 01043209:GXDPQP2 2B.07.23.PCIe5.P1 | 01043209:GXDPQP2 2B.07.23.PCIe2.P1
256910 2B.16.32.Eth1/3 | 178484 2B.01.27.Port 23 | 178486 2B.16.30.Port 23 | 153461 2B.01.19.Eth117/1/7 | 162246 2B.07.-44.Eth127/1/5 | 145058 2B.01.32.Eth1/4 | 256910 2B.16.32.Eth1/4 | 178484 2B.01.27.Port 24
2B.07.-49.S1.A3 2B.16.45.S9.A3 | 2B.07.-49.S2.A6 2B.01.45.S9.A6 | 2B.07.-49.S1.A4 2B.16.45.S9.A4 | 2B.07.-49.S2.B1 2B.01.45.S9.B1 |  | 2B.07.-49.S2.B2 2B.01.45.S9.B2 | 2B.07.-49.S1.A5 2B.16.45.S9.A5 | 2B.07.-49.S2.B3 2B.01.45.S9.B3
22 | 23 | 24 | 25 | 26 | 27 | 28 | 29
01043209:GXDPQP2 2B.07.23.PCIe7.P1 | 01043209:GXDPQP2 2B.07.23.OB1
178486 2B.16.30.Port 24 | 153461 2B.01.19.Eth117/1/8
2B.07.-49.S1.A6 2B.16.45.S9.A6 | 2B.07.-49.S2.B4 2B.01.45.S9.B4
30 | 31 | 32 | 33 | 34 | 35 | 36 | 37
38 | 39 | 40 | 41 | 42 | 43 | 44 | 45
46 | 47 | 48 | 49 | 50 | 51 | 52 | 53

## TAP 54 - 101
54 | 55 | 56 | 57 | 58 | 59 | 60 | 61
I
P
T
W
AD
AJ
62 | 63 | 64 | 65 | 66 | 67 | 68 | 69
70 | 71 | 72 | 73 | 74 | 75 | 76 | 77
78 | 79 | 80 | 81 | 82 | 83 | 84 | 85
86 | 87 | 88 | 89 | 90 | 91 | 92 | 93
94 | 95 | 96 | 97 | 98 | 99 | 100 | 101

## TAP 102 - 149
102 | 103 | 104 | 105 | 106 | 107 | 108 | 109
I
P
T
W
AD
AJ
110 | 111 | 112 | 113 | 114 | 115 | 116 | 117
118 | 119 | 120 | 121 | 122 | 123 | 124 | 125
126 | 127 | 128 | 129 | 130 | 131 | 132 | 133
134 | 135 | 136 | 137 | 138 | 139 | 140 | 141
142 | 143 | 144 | 145 | 146 | 147 | 148 | 149

## TAP 150 - 197
150 | 151 | 152 | 153 | 154 | 155 | 156 | 157
I
P
T
W
AD
AJ
158 | 159 | 160 | 161 | 162 | 163 | 164 | 165
166 | 167 | 168 | 169 | 170 | 171 | 172 | 173
174 | 175 | 176 | 177 | 178 | 179 | 180 | 181
182 | 183 | 184 | 185 | 186 | 187 | 188 | 189
190 | 191 | 192 | 193 | 194 | 195 | 196 | 197

## TAP Devices
Do Not Add to Column | Do Not Add to Column | Do Not Add to Column
Hostname | Asset | HostRack | S/N
NCWRWSPSERD0001 | 01043206:GXDLQP2 | 5R.06.29
NCEPWSPSERD0001 | 01043208:GXDNQP2 | 2B.07.21
NCEPWSPSERD0002 | 01043209:GXDPQP2 | 2B.07.23
ncencdc-h2b07-fx01 | 162249 | 2B.07.-46
ncencdc-h2b-fl01 | 145058 | 2B.01.32
ncencdc-h2b-fl02 | 256910 | 2B.16.32
nce-2b01-pedg-123 | 178484 | 2B.01.27
nce-2b16-pedg-124 | 178486 | 2B.16.30
ncencbn-h2b01-fx03 | 153461 | 2B.01.19
ncencdc-h2b07-fx02 | 162246 | 2B.07.-44

## TAP - DO NOT USE
ASSET A | HOSTNAME | Asset | Rack
| NCWRWSPSERD0001 | 01043206:GXDLQP2 | 5R.06.29
| NCEPWSPSERD0001 | 01043208:GXDNQP2 | 2B.07.21
| NCEPWSPSERD0002 | 01043209:GXDPQP2 | 2B.07.23
Asset B | ncencdc-h2b07-fx01 | 162249 | 2B.07.-46
| ncencdc-h2b-fl01 | 145058 | 2B.01.32
| ncencdc-h2b-fl02 | 256910 | 2B.16.32
| nce-2b01-pedg-123 | 178484 | 2B.01.27
| nce-2b16-pedg-124 | 178486 | 2B.16.30
| ncencbn-h2b01-fx03 | 153461 | 2B.01.19
| ncencdc-h2b07-fx02 | 162246 | 2B.07.-44
Monitor
All Devices | NCWRWSPSERD0001 | 01043206:GXDLQP2 | 5R.06.29
| NCEPWSPSERD0001 | 01043208:GXDNQP2 | 2B.07.21
| NCEPWSPSERD0002 | 01043209:GXDPQP2 | 2B.07.23
| ncencdc-h2b07-fx01 | 162249 | 2B.07.-46
| ncencdc-h2b-fl01 | 145058 | 2B.01.32
| ncencdc-h2b-fl02 | 256910 | 2B.16.32
| nce-2b01-pedg-123 | 178484 | 2B.01.27
| nce-2b16-pedg-124 | 178486 | 2B.16.30
| ncencbn-h2b01-fx03 | 153461 | 2B.01.19
| ncencdc-h2b07-fx02 | 162246 | 2B.07.-44