## Config. Summary
Cray Internal "Redbull"
Date | Description | Modifier | Revision | ECO#
2020-02-27 | Initial Redbull Configuration to 8 Intel NCN's No computes or rosetta switch | Scott Alne | A1
2020-03-17 | Installed bastian node and added cabling. PDU cables for p1 and p2. Fixed xnames for spine switches in rack layout. | Russell Bunch | A1a
2020-06-03 | Added CAN connection to spine switch | Scott Alne | A2
2020-06-24 | Updated HMN Tab as requested by SW | Scott Alne | A3
2020-08-07 | Removed mgmt connections from spine and leaf switches | Scott Alne | A4
2020-10-07 | Adding wn03 | Scott Alne | A5
2021-12-15 | Added keepalive cable between spines. Added right hand blocks of data for CANU and changed label formulas to match. canu version b7dc07d9 (develop branch) canu validate shcd -a v1 --shcd ../redbull/redbull.xlsx --tabs 40G_10G,NMN,HMN --corners I12,S37,I9,S20,I20,S31 | Sean Lynn | A6
2022-01-14 | Added Storage node | Mark Bowe | A7
2022-02-04 | Fixed typo for sn04 | Mark Bowe | A8
2022-09-20 | Changed port mn03 connects to in HMN tab | Lucas Drivas | A9
2022-10-14 | Adding updated canu command: canu validate shcd -a v1 --shcd redbull.xlsx --tabs 40G_10G,NMN,HMN --corners I12,S39,I9,S20,I20,S31 | Lucas Drivas | A10
2023-08-21 | Reconfig by adding Aruba switches, proof of concept on mn01 and wn01. All ethernet connections from sw-smn01 u18 moved to sw-smn01 u31. | Kevin K | A11
2023-08-30 | Converted over wn02 for the Aruba config | Kevin K | A12
2023-09-05 | Added more 25g connections on wn02 and wn03 | Kevin K | A13
2023-10-25 | Added 25g connections to remaining mn and sn nodes | Kevin K | A14
2023-10-26 | Added 25g connections to wn03, renamed tab to 25G_10G | Kevin K | A15
2024-09-24 | Removed bn01 from 25G_10G, NMN, and HMN sheets. Removed all onboard and site connections from NMN except for mn01. Fixed "ncn-w0003" entry in 25G_10G. Fixed "pcie_slot2" entries in 25G_10G; replaced with "pcie_slot1" with port setting of "1" and "2" where appropriate. Removed onboards for NMN tab except for mn01, corrected mn01 to u01. | Russell Bunch | A15a
2024-09-25 | Adding updated canu command: canu validate shcd -a tds --shcd redbull.xlsx --tabs 25G_10G,NMN,HMN --corners I15,Q50,I9,S10,I20,S30 --log DEBUG --json --out ccj.json | Russell Bunch | A15a
2024-09-30 | Corrected cabling for storage nodes on 25G_10G | Russell Bunch | A15a
2024-09-30 | Fixed typo on HMN tab, u31 instead of u13 | Russell Bunch | A15b
2024-10-02 | Recabled system per A15a and A15b, renaming to A16 | Kevin K | A16

## Rack_Layout
REAR VIEW
| X3000 | [5 empty] | X3000
| CS-R42U-600-1200-AR3300 | [5 empty] | CS-R42U-600-1200-AR3300
42 |  |  |  | 42 | ^^^^ Physical ^^^^ | 42 |  |  |  | 42
41 |  |  |  | 41 |  | 41 |  |  |  | 41
40 |  |  |  | 40 |  | 40 |  |  |  | 40
39 |  |  |  | 39 |  | 39 |  |  |  | 39
38 |  |  |  | 38 |  | 38 |  |  |  | 38
37 |  |  |  | 37 |  | 37 |  |  |  | 37
36 |  |  |  | 36 |  | 36 |  |  |  | 36
35 |  |  |  | 35 |  | 35 |  |  |  | 35
34 |  |  |  | 34 |  | 34 |  |  |  | 34
33 | Aruba 8325 x3000u33 |  |  | 33 |  | 33 | sw-25g01 |  |  | 33
32 | Aruba 8325 x3000u32 |  |  | 32 |  | 32 | sw-25g02 |  |  | 32
31 | Aruba 6300M x3000u31 |  |  | 31 |  | 31 | sw-smn01 |  |  | 31
30 |  |  |  | 30 |  | 30 |  |  |  | 30
29 |  |  |  | 29 |  | 29 |  |  |  | 29
28 |  |  |  | 28 |  | 28 |  |  |  | 28
27 | CS-WFMB-R2308WFTZS x3000u26 |  |  | 27 |  | 27 | CS-WFMB-R2308WFTZS sn04 |  |  | 27
26 |  |  |  | 26 |  | 26 |  |  |  | 26
25 |  |  |  | 25 |  | 25 |  |  |  | 25
24 |  |  |  | 24 |  | 24 |  |  |  | 24
23 | CS-WFMB-R2308WFTZS x3000u22 |  |  | 23 |  | 23 | CS-WFMB-R2308WFTZS wn03 |  |  | 23
22 |  |  |  | 22 |  | 22 |  |  |  | 22
21 | (S2600G) x3000u21 |  |  | 21 |  | 21 | (S2600G) bn01 |  |  | 21
20 |  |  |  | 20 | ^^^^ Logical ^^^^ | 20 |  |  |  | 20
19 | CS-XGE40-MLNX-2100-16 sw-smn02 | CS-XGE40-MLNX-2100-16 sw-smn03 |  | 19 |  | 19 | CS-XGE40-MLNX-2100-16 sw-smn02 | CS-XGE40-MLNX-2100-16 sw-smn03 |  | 19
18 | (XC-XGE-48P-DL2) x3000u18 |  |  | 18 |  | 18 | (XC-XGE-48P-DL2) sw-smn01 |  |  | 18
17 |  |  |  | 17 |  | 17 |  |  |  | 17
16 | CS-WFMB-R2308WFTZS x3000u15 |  |  | 16 |  | 16 | CS-WFMB-R2308WFTZS sn03 |  |  | 16
15 |  |  |  | 15 |  | 15 |  |  |  | 15
14 | CS-WFMB-R2308WFTZS x3000u13 |  |  | 14 |  | 14 | CS-WFMB-R2308WFTZS sn02 |  |  | 14
13 |  |  |  | 13 |  | 13 |  |  |  | 13
12 | CS-WFMB-R2308WFTZS x3000u11 |  |  | 12 |  | 12 | CS-WFMB-R2308WFTZS sn01 |  |  | 12
11 |  |  |  | 11 |  | 11 |  |  |  | 11
10 | CS-WFMB-R2308WFTZS x3000u09 |  |  | 10 |  | 10 | CS-WFMB-R2308WFTZS wn02 |  |  | 10
09 |  |  |  | 09 |  | 09 |  |  |  | 09
08 | CS-WFMB-R2308WFTZS x3000u07 |  |  | 08 |  | 08 | CS-WFMB-R2308WFTZS wn01 |  |  | 08
07 |  |  |  | 07 |  | 07 |  |  |  | 07
06 | CS-WFMB-R2308WFTZS x3000u05 |  |  | 06 |  | 06 | CS-WFMB-R2308WFTZS mn03 |  |  | 06
05 |  |  |  | 05 |  | 05 |  |  |  | 05
04 | CS-WFMB-R2308WFTZS x3000u03 |  |  | 04 |  | 04 | CS-WFMB-R2308WFTZS mn02 |  |  | 04
03 |  |  |  | 03 |  | 03 |  |  |  | 03
02 | CS-WFMB-R2308WFTZS x3000u01 |  |  | 02 |  | 02 | CS-WFMB-R2308WFTZS mn01 |  |  | 02
01 |  |  |  | 01 |  | 01 |  |  |  | 01
| x3000p1 |  | x3000p2 |  |  |  | x3000p1 |  | x3000p2
| CS-ST-CS-SPDU-208V-60A-H | [5 empty] | CS-ST-CS-SPDU-208V-60A-H

## Device Diagrams
Bastian Node (CS-INTL-S2600GZ)
| PSU1 j1 | [5 empty] | PSU2 j2 | [6 empty] | Riser Slot#2 (A2UL16RISER2) | BLANK | [7 empty] | Riser Slot#1 (A2UL16RISER2) | 40G |  | 40g02 |  |  | 40g01 |  | #101966800
[23 empty] | USB |  | 3
[14 empty] | lan01 |  | lan02 |  | lan03 | lan04 |  | Video | Serial (RJ45) | USB |  | 2 |  | MGMT (NIC) |  |  | I/O Module (opt)
[23 empty] | USB |  | 1
[15 empty] | j1 | [12 empty] | b0
Master Node (CS-WFMB-R2308WFTZS )
[7 empty] | Blank | [6 empty] | Riser Slot#2 (A2UL16RISER2) | 40G |  | 40g02 |  | 40g01 | #101966800 |  |  | Riser Slot#1 (A2UL16RISER2) | BLANK
i1
[7 empty] | Blank | [7 empty] | BLANK | [8 empty] | N/A
| PSU1 j1 | [5 empty] | PSU2 j2 | [7 empty] | BLANK | [8 empty] | BLANK
[23 empty] | USB |  | 3
[14 empty] | lan01 |  |  |  | lan02 |  |  | Video | Serial (RJ45) | USB |  | 2 |  | MGMT (NIC) |  |  | I/O Module (opt)
[23 empty] | USB |  | 1
[15 empty] | j1 | [12 empty] | b0
Worker Node (CS-WFMB-R2308WFTZS )
[7 empty] | Blank | [6 empty] | Riser Slot#2 (A2UL16RISER2) | 40G |  | 40g02 |  | 40g01 | #101966800 |  |  | Riser Slot#1 (A2UL16RISER2) | 100G |  |  |  |  | 100g01 |  | 101868500
i1
[7 empty] | Blank | [7 empty] | BLANK | [8 empty] | BLANK
| PSU1 j1 | [5 empty] | PSU2 j2 | [7 empty] | BLANK | [8 empty] | BLANK
[23 empty] | USB |  | 3
[14 empty] | lan01 |  |  |  | lan02 |  |  | Video | Serial (RJ45) | USB |  | 2 |  | MGMT (NIC) |  |  | I/O Module (opt)
[23 empty] | USB |  | 1
[15 empty] | j1 | [12 empty] | b0
Storage Node (CS-WFMB-R2308WFTZS )
[7 empty] | Blank | [6 empty] | Riser Slot#2 (A2UL16RISER2) | 40G |  | 40g02 |  | 40g01 | #101966800 |  |  | Riser Slot#1 (A2UL16RISER2) | BLANK
i1
[7 empty] | Blank | [7 empty] | BLANK | [8 empty] | N/A
| PSU1 j1 | [5 empty] | PSU2 j2 | [7 empty] | BLANK | [8 empty] | BLANK
[23 empty] | USB |  | 3
[14 empty] | lan01 |  |  |  | lan02 |  |  | Video | Serial (RJ45) | USB |  | 2 |  | MGMT (NIC) |  |  | I/O Module (opt)
[23 empty] | USB |  | 1
[15 empty] | j1 | [12 empty] | b0
UAN (CS-WFMB-R2308WFTZS )
[7 empty] | Blank | [6 empty] | Riser Slot#2 (A2UL16RISER2) | 40G |  | 40g02 |  | 40g01 | #101966800 |  |  | Riser Slot#1 (A2UL16RISER2) | 100G |  |  |  |  | 100g01 |  | 101868500
i1
[7 empty] | Blank | [7 empty] | BLANK | [8 empty] | BLANK
| PSU1 j1 | [5 empty] | PSU2 j2 | [7 empty] | BLANK | [8 empty] | BLANK
[23 empty] | USB |  | 3
[14 empty] | lan01 |  |  |  | lan02 |  |  | Video | Serial (RJ45) | USB |  | 2 |  | MGMT (NIC) |  |  | I/O Module (opt)
[23 empty] | USB |  | 1
[15 empty] | j1 | [12 empty] | b0
Compute Nodes (CN)(CS-INTL-HNS26BPB)
[11 empty] | 100G |  | 100G01
|  |  | Video | [11 empty] | i1
|  |  |  | mgmt (NIC) |  | USB |  |  | lan01 |  |  | lan02
USB
[5 empty] | b0 |  |  |  |  | j1
SubRack (CS-INTL-H2312XXLR3)
CS-INTL-H2312XXLR3 2U / 4 Node Chassis
(CEEDGE-XGE100-7712-CRAYY) EdgeCore PN 7712-32x-o-ac-b-us
XC-XGE-48P-DL2 Ethernet switch (Dell S3048-ON)
Cray Slingshot Switches
|  | SH-XSS-200G-64P | [6 empty] | SLINGSHOT 200G 64 PORTS SWITCH, POWER-SIDE TO PORT-SIDE AIRFLOW
|  | SH-XSS-200G-64P-R | [6 empty] | SLINGSHOT 200G 64 PORTS SWITCH, PORT-SIDE TO POWER-SIDE AIRFLOW
Columbia TOR (Frontside View)

## Master Cable Count
Summary of Cables and Filler Panels
Cable Counts
Part No. | Marketing Codes | Description | Total Qty
100982102 | CS-KGE-PAND-STP-PL-002M1 | CABLE ASSY,CAT6A STP SOLID PLENUM BLUE 7FT | 0
080-00127J | CS-KGE-PAND-CU-002M1 | CABLE ASSY,CAT6 ETHERNET 7FT WHITE | 9
085-00218A | CS-APC-KPWR-C14-13-1M5 | POWER CORD,C14 TO C13 17AWG 10A-250V BLK 1.5M | 0

## Config yaml file
# Redbull
#
# one River cabinet
#-------------------------------------------------------------------------------
# unique system build templates
#
# templates for the non-standard parts of this system, typically I/O cabinets.
#
templates:
cabinet_builds:
- template: my_service_cab
mount_direction: back
cabinet_component: riv
build:
- component: CS-WFMB-R2308WFTZS_1nic
fill_slots: [11-16]
- component: CS-WFMB-R2308WFTZS_1nic
fill_slots: [7-10]
- component: CS-WFMB-R2308WFTZS_1nic
fill_slots: [1-6]
groups:
- template: my_service_group
cabinet_component: riv
edge_mapping_mode: dynamic
local_mapping_mode: dynamic
group_by: rack_slots
groups:
- slots_in_group: [7-10]
#-------------------------------------------------------------------------------
# cabinet layout (rows, troughs, etc)
#
cabinet_layout:
indiv_cabinets:
- cabinet_id: x3000
template: my_service_cab
#-------------------------------------------------------------------------------
# group definitions
#
groups:
- template: my_service_group
apply_to_cabinets: [x3000]
type: service
#-------------------------------------------------------------------------------
# Bundle sizes
#
bundle_sizes:
local:
- group_type: service
bundle_size: 1
global:
- from_group_type: service
to_group_type: service
bundle_size: 1

## pt_pt (SCT)
No Rosetta Switch

## 25G_10G
25G and 10G Networks.
Cable Requirement
| Desc. | Mkt Code |  | HPE Part No. | Qty
| QSFP-QSFP-1M | N/A |  | R0Z25A | 2
| OM4-15M | N/A |  | QK735A | 0
| OM4-30M | N/A |  | QK736A | 0
| TRANS-25G | N/A |  | JL484A | 0
| SFP-SFP-0M65 | N/A |  | JL487A | 2
| SFP-SFP-3M | N/A |  | JL488A | 14
| SFP-SFP-5M | N/A |  | JL489A | 0
|  |  |  | Total= | 18
Ethernet Routing Table
Label Info (2 lines)
| Source | Source-L | Destination-L | Destination | Description | Part Number | Source | Rack | Location | Slot | Port | Destination | Rack | Location | Port
| CAN Switch | cfcanb1s1 (port10) | x3000u32-j36 | sw-25g02 | Cray Site connect |  | CAN Switch | cfcanb1s1 |  |  | 10 | sw-25g02 | x3000 | u32 | 36
| mn01 | x3000u01pcie-slot1-j1 | x3000u33-j1 | sw-25g01 |  | JL488A | ncn-m001 | x3000 | u01 | pcie-slot1 | 1 | sw-25g01 | x3000 | u33 | 1
| mn01 | x3000u01pcie-slot1-j2 | x3000u32-j1 | sw-25g02 |  | JL488A | ncn-m001 | x3000 | u01 | ocp | 1 | sw-25g02 | x3000 | u32 | 1
| wn01 | x3000u07pcie-slot1-j1 | x3000u32-j2 | sw-25g02 |  | JL488A | ncn-w001 | x3000 | u07 | ocp | 1 | sw-25g02 | x3000 | u32 | 2
| CAN Switch | cfcanb1s1 (port13) | x3000u33-j36 | sw-25g01 | Cray Site connect |  | CAN Switch | cfcanb1s1 |  |  | 13 | sw-25g01 | x3000 | u33 | 36
| sw-25g01 | x3000u33-j51 | x3000u32-j51 | sw-25g02 |  | R0Z25A | sw-25g01 | x3000 | u33 |  | 51 | sw-25g02 | x3000 | u32 | 51
| sw-25g01 | x3000u33-j52 | x3000u32-j52 | sw-25g02 |  | R0Z25A | sw-25g01 | x3000 | u33 |  | 52 | sw-25g02 | x3000 | u32 | 52
| sw-smn01 | x3000u31-j49 | x3000u33-j48 | sw-25g01 |  | JL488A | sw-smn01 | x3000 | u31 |  | 49 | sw-25g01 | x3000 | u33 | 48
| sw-smn01 | x3000u31-j50 | x3000u32-j48 | sw-25g02 |  | JL487A | sw-smn01 | x3000 | u31 |  | 50 | sw-25g02 | x3000 | u32 | 48
| sw-25g01 | x3000u33-j47 | x3000u32-j47 | sw-25g02 |  | JL487A | sw-25g01 | x3000 | u33 |  | 47 | sw-25g02 | x3000 | u32 | 47
| wn02 | x3000u09pcie-slot1-j1 | x3000u32-j3 | sw-25g02 |  | JL488A | ncn-w002 | x3000 | u09 | ocp | 1 | sw-25g02 | x3000 | u32 | 3
| wn01 | x3000u07pcie-slot1-j2 | x3000u33-j2 | sw-25g01 |  | JL488A | ncn-w001 | x3000 | u07 | ocp | 2 | sw-25g01 | x3000 | u33 | 2
| wn02 | x3000u09pcie-slot1j2 | x3000u33-j3 | sw-25g01 |  | JL488A | ncn-w002 | x3000 | u09 | ocp | 2 | sw-25g01 | x3000 | u33 | 3
| wn03 | x3000u22pcie-slot1j1 | x3000u32-j14 | sw-25g02 |  | JL488A | ncn-w003 | x3000 | u22 | ocp | 1 | sw-25g02 | x3000 | u32 | 14
| wn03 | x3000u22pcie-slot1j2 | x3000u33-j14 | sw-25g01 |  | JL488A | ncn-w003 | x3000 | u22 | ocp | 2 | sw-25g01 | x3000 | u33 | 14
| mn02 | x3000u03pcie-slot1j1 | x3000u33-j4 | sw-25g01 |  | JL488A | ncn-m002 | x3000 | u03 | pcie-slot1 | 1 | sw-25g01 | x3000 | u33 | 4
| mn02 | x3000u03pcie-slot2j1 | x3000u32-j4 | sw-25g02 |  | JL488A | ncn-m002 | x3000 | u03 | ocp | 1 | sw-25g02 | x3000 | u32 | 4
| mn03 | x3000u05pcie-slot1j1 | x3000u33-j5 | sw-25g01 |  | JL488A | ncn-m003 | x3000 | u05 | pcie-slot1 | 1 | sw-25g01 | x3000 | u33 | 5
| mn03 | x3000u05pcie-slot2j1 | x3000u32-j5 | sw-25g02 |  | JL488A | ncn-m003 | x3000 | u05 | ocp | 1 | sw-25g02 | x3000 | u32 | 5
| sn01 | x3000u11pcie-slot1j1 | x3000u32-j6 | sw-25g02 |  | JL488A | ncn-s001 | x3000 | u11 | pcie-slot1 | 1 | sw-25g02 | x3000 | u32 | 6
| sn01 | x3000u11pcie-slot1j2 | x3000u32-j7 | sw-25g02 |  | JL488A | ncn-s001 | x3000 | u11 | pcie-slot1 | 2 | sw-25g02 | x3000 | u32 | 7
| sn01 | x3000u11pcie-slot2j1 | x3000u33-j6 | sw-25g01 |  | JL488A | ncn-s001 | x3000 | u11 | ocp | 1 | sw-25g01 | x3000 | u33 | 6
| sn01 | x3000u11pcie-slot2j2 | x3000u33-j7 | sw-25g01 |  | JL488A | ncn-s001 | x3000 | u11 | ocp | 2 | sw-25g01 | x3000 | u33 | 7
| sn02 | x3000u13pcie-slot1j1 | x3000u32-j8 | sw-25g02 |  | JL488A | ncn-s002 | x3000 | u13 | pcie-slot1 | 1 | sw-25g02 | x3000 | u32 | 8
| sn02 | x3000u13pcie-slot1j2 | x3000u32-j9 | sw-25g02 |  | JL488A | ncn-s002 | x3000 | u13 | pcie-slot1 | 2 | sw-25g02 | x3000 | u32 | 9
| sn02 | x3000u13pcie-slot2j1 | x3000u33-j8 | sw-25g01 |  | JL488A | ncn-s002 | x3000 | u13 | ocp | 1 | sw-25g01 | x3000 | u33 | 8
| sn02 | x3000u13pcie-slot2j2 | x3000u33-j9 | sw-25g01 |  | JL488A | ncn-s002 | x3000 | u13 | ocp | 2 | sw-25g01 | x3000 | u33 | 9
| sn03 | x3000u15pcie-slot1j1 | x3000u32-j10 | sw-25g02 |  | JL488A | ncn-s003 | x3000 | u15 | pcie-slot1 | 1 | sw-25g02 | x3000 | u32 | 10
| sn03 | x3000u15pcie-slot1j2 | x3000u32-j11 | sw-25g02 |  | JL488A | ncn-s003 | x3000 | u15 | pcie-slot1 | 2 | sw-25g02 | x3000 | u32 | 11
| sn03 | x3000u15pcie-slot2j1 | x3000u33-j10 | sw-25g01 |  | JL488A | ncn-s003 | x3000 | u15 | ocp | 1 | sw-25g01 | x3000 | u33 | 10
| sn03 | x3000u15pcie-slot2j2 | x3000u33-j11 | sw-25g01 |  | JL488A | ncn-s003 | x3000 | u15 | ocp | 2 | sw-25g01 | x3000 | u33 | 11
| sn04 | x3000u26pcie-slot1j1 | x3000u32-j12 | sw-25g02 |  | JL488A | ncn-s004 | x3000 | u26 | pcie-slot1 | 1 | sw-25g02 | x3000 | u32 | 12
| sn04 | x3000u26pcie-slot1j2 | x3000u32-j13 | sw-25g02 |  | JL488A | ncn-s004 | x3000 | u26 | pcie-slot1 | 2 | sw-25g02 | x3000 | u32 | 13
| sn04 | x3000u26pcie-slot2j1 | x3000u33-j12 | sw-25g01 |  | JL488A | ncn-s004 | x3000 | u26 | ocp | 1 | sw-25g01 | x3000 | u33 | 12
| sn04 | x3000u26pcie-slot2j2 | x3000u33-j13 | sw-25g01 |  | JL488A | ncn-s004 | x3000 | u26 | ocp | 2 | sw-25g01 | x3000 | u33 | 13

## NMN
Ethernet Operational Network (Node Management )
Cable Requirement
| Desc. | Mkt Code |  | Part No. | Qty
1 | ETH-7FT-BLUE | CS-KGE-PAND-STP-PL-002M1 |  | 100982102 | 0
|  |  |  | Total= | 0
Ethernet Routing Table
Label Info (2 lines)
| Source | Source-L | Destination-L | Destination | Description | Part Number | Source | Rack | Location | Slot | Port | Destination | Rack | Location | Port
| mn01 | x3000u01-j1 |  | Customer Connection |  |  | ncn-m001 | x3000 | u01 | onboard | 1 | SITE | SITE | SITE | 0
VLAN 100

## HMN
HMN (HW Management Network)
Cable Requirement
| Desc. | Mkt Code |  | Part No. | Qty
1 | ETH-7FT-WHITE | CS-KGE-PAND-CU-002M1 |  | 080-00127J | 9
|  |  |  | Total= | 9
Ethernet Routing Table
Label Info (2 lines)
| Source | Source-L | Destination-L | Destination | Description | Part Number | Source | Rack | Location | Parent | Slot | Port | Destination | Rack | Location | Port
| mn01 | x3000u01-j3 | SITESITE-j0 | Customer Connection |  |  | ncn-m001 | x3000 | u01 |  | bmc | 1 | SITE | SITE | SITE | 0
| mn02 | x3000u03-j3 | x3000u31-p26 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | ncn-m002 | x3000 | u03 |  | bmc | 1 | sw-smn01 | x3000 | u31 | 26
| mn03 | x3000u05-j3 | x3000u31-p27 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | ncn-m003 | x3000 | u05 |  | bmc | 1 | sw-smn01 | x3000 | u31 | 27
| wn01 | x3000u07-j3 | x3000u31-p25 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | ncn-w001 | x3000 | u07 |  | bmc | 1 | sw-smn01 | x3000 | u31 | 25
| wn02 | x3000u09-j3 | x3000u31-p28 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | ncn-w002 | x3000 | u09 |  | bmc | 1 | sw-smn01 | x3000 | u31 | 28
| wn03 | x3000u22-j3 | x3000u31-p32 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | ncn-w003 | x3000 | u22 |  | bmc | 1 | sw-smn01 | x3000 | u31 | 32
| sn01 | x3000u11-j3 | x3000u31-p29 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | ncn-s001 | x3000 | u11 |  | bmc | 1 | sw-smn01 | x3000 | u31 | 29
| sn02 | x3000u13-j3 | x3000u31-p30 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | ncn-s002 | x3000 | u13 |  | bmc | 1 | sw-smn01 | x3000 | u31 | 30
| sn03 | x3000u15-j3 | x3000u31-p31 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | ncn-s003 | x3000 | u15 |  | bmc | 1 | sw-smn01 | x3000 | u31 | 31
| sn04 | x3000u26-j3 | x3000u31-p33 | sw-smn01 | ETH-7FT-WHITE | 080-00127J | ncn-s004 | x3000 | u26 |  | bmc | 1 | sw-smn01 | x3000 | u31 | 33

## PDU
PDU Power Cabling
Cable Requirement
| Desc. | Mkt Code |  | Part No. | Qty
1 | C14-C13-1M5 | CS-APC-KPWR-C14-13-1M5 |  | 085-00218A | 0
|  |  |  | Total= | 0
PDU Routing Table
Label Info (2 lines)
| Source | Source | Destination | Destination | Description | Part Number
1 | pdu1 | x3000p1-net | x3000u31-p37 | sw-smn01
2 | pdu2 | x3000p2-net | x3000u31-p38 | sw-smn01
3
4
5
6
7
8
9
10
11
12
13
14
15
16
ServerTech
CS-ST-CS-SPDU-208V-60A-H(Master) PN 101286700
Port Naming
|  | Port Phase | Jack# | Type
|  | xy01 | 1 | C13
|  | yz01 | 2 | C13
|  | zx01 | 3 | C13
|  | xy02 | 4 | C13
|  | yz02 | 5 | C13
|  | zx02 | 6 | C13
|  | xy03 | 7 | C13
|  | yz03 | 8 | C13
|  | zx03 | 9 | C13
|  | xy04 | 10 | C13
|  | yz04 | 11 | C13
|  | zx04 | 12 | C13
|  | xy05 | 13 | C13
|  | yz05 | 14 | C13
|  | zx05 | 15 | C13
|  | xy06 | 16 | C13
|  | yz06 | 17 | C13
|  | zx06 | 18 | C13
|  | xy07 | 19 | C13
|  | yz07 | 20 | C13
|  | zx07 | 21 | C13
|  | xy08 | 22 | C13
|  | yz08 | 23 | C13
|  | zx08 | 24 | C13
|  | xy09 | 25 | C13
|  | yz09 | 26 | C13
|  | zx09 | 27 | C13
|  | xy10 | 28 | C13
|  | yz10 | 29 | C13
|  | zx10 | 30 | C13
|  | xy11 | 31 | C13
|  | yz11 | 32 | C13
|  | zx11 | 33 | C13
|  | xy12 | 34 | C13
|  | yz12 | 35 | C13
|  | zx12 | 36 | C13
|  | xy13 | 37 | C13
|  | yz13 | 38 | C13
|  | zx13 | 39 | C13
|  | xy14 | 40 | C13
|  | yz14 | 41 | C13
|  | zx14 | 42 | C13
Pigtail